| College / Portfolio: |  |  |  |  |  | School / Work Unit: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location(s) Inspected: |  |  |  |  |  | Date of Inspection: |  |  |  |  |
| Inspection Team: |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  | E number: |  | Name: |  |  |  | E number: |  |
| Name: |  |  | E number: |  | Name: |  |  |  | E number: |  |

Add more rows as required

| # | Elements | Answer | Comment / Hazard / Action | Person Responsible | Due Date | Date Completed |
| --- | --- | --- | --- | --- | --- | --- |
| 1.0 | Housekeeping |  |  |  |  |  |
| 1.1 | Are all walkways / aisles clear of obstructions? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 1.2 | Is there adequate storage in work area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.0 | Environmental |  |  |  |  |  |
| 2.1 | Is the lighting at a suitable level for the work being performed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.2 | Is the temperature at a comfortable level? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.3 | Is the noise below the acceptable RMIT standard? (85db over 8hrs and 140db peak) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.4 | Are the floors in good condition? (e.g. carpet, edging tiles, spills cleaned) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.0 | Chemicals |  |  |  |  |  |
| 3.1 | Are all chemicals labelled as per GHS guidelines? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.2 | Are chemicals stored in accordance with RMIT processes? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.3 | Are chemicals stored in suitable and appropriate storage cupboards for the DG Class & which meet the Australian Standard? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.4 | Are there separate storage cupboards for specific DG Classes of chemicals stored? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.5 | Is there physical segregation for incompatible chemicals of the same DG class (e.g. acids and alkalis) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.6 | Are Safety Data Sheets (SDSs) available and current for all chemicals? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.7 | Are designated storage areas signed appropriately? (e.g. Pictograms) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.8 | Are spill kits suitable, available, stocked and appropriately signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.9 | Have chemicals been risk assessed where required? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 4.0 | Manual Handling |  |  |  |  |  |
| 4.1 | Are there any manual tasks that people find physically difficult to do? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 4.2 | Have manual handling risk assessments been conducted for all manual handling tasks/ activities undertaken within the area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 4.3 | Is there manual handling equipment available suitable for the manual handling tasks in the area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.0 | Mechanical (plant and equipment) |  |  |  |  |  |
| 5.1 | Has all plant & equipment been maintained and in good condition? (check logbooks) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.2 | Are emergency stops in place where required and appropriately signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.3 | Are guards in place on the plant and equipment where required? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.4 | Have risk assessments been conducted on all plant & equipment? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.5 | Are isolation tags, locks and associated isolation equipment available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.6 | Are plant and equipment fitted with isolation capable controls? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.7 | Is there an isolation SOP for each plant and equipment in the area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.8 | Have staff / students / third parties been trained in the isolation SOPs and records of training kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.9 | Are all staff and students trained to use the plant / equipment and records of training kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.10 | Have safe work instructions been developed and readily available for staff and students? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.0 | Electrical |  |  |  |  |  |
| 6.1 | Is all portable electrical equipment tested and tagged? (including leads and power boards) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.2 | Is the testing and tagging date current? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.3 | Is all electrical equipment maintained in good condition? (including power points, condition of extension cords etc.) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.4 | Is there clear access to any electrical cupboards/ distribution boards? And are they locked? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.5 | Are double adaptors used? (double adaptors should NOT be used) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.6 | RCD protection fitted in the work area. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.0 | Emergency |  |  |  |  |  |
| 7.1 | Are all first aid kits stocked as per the label and contents are in date? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.2 | First aid kits are accessible and signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.3 | Have all fire extinguishers been inspected and tagged in the last 6 months? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.4 | Are fire extinguishers appropriately signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.5 | Are fire extinguisher types suitable for the plant, equipment and area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.6 | Are fire extinguishers accessible? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.7 | Are all staff and students trained to use fire extinguishers and records of training kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.8 | Are all emergency exits clear of obstructions? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.9 | Are all emergency exits signs illuminated? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.10 | Are all emergency exits signs tested as required and logbooks available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.11 | Are all emergency lights tested as required and logbooks available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.12 | Are staff aware of emergency procedures and local first aiders/fire wardens? (sample staff members) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.13 | Names and contacts of first aiders/fire wardens are displayed and current? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.0 | Personal Protective Equipment (PPE) |  |  |  |  |  |
| 8.1 | Is suitable PPE available? (e.g. noise protection) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.2 | Is there appropriate signage indicating PPE requirements? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.3 | Is there adequate storage available for all PPE? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.4 | Is PPE maintained in good condition? (check records) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.5 | Are people trained in the use of PPE and records kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 9.0 | Other |  |  |  |  |  |
| 9.1 |  | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |