| College / Portfolio: |  |  |  |  |  | School / Work Unit: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location(s) Inspected: |  |  |  |  |  | Date of Inspection: |  |  |  |  |
| Inspection Team: |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  | E number: |  | Name: |  |  |  | E number: |  |
| Name: |  |  | E number: |  | Name: |  |  |  | E number: |  |

Add more rows as required

| # | Elements | Answer | Comment / Hazard / Action | Person Responsible | Due Date | Date Completed |
| --- | --- | --- | --- | --- | --- | --- |
| 1.0 | Housekeeping |  |  |  |  |  |  |
| 1.1 | Are all walkways/aisles clear of obstructions? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 1.2 | Is there adequate storage in work area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 2.0 | Administration |  |  |  |  |  |
| 2.1 | Is there appropriate signage on entrances to labs and storage rooms/vessels (refer to Unit’s risk register): |  |  |  |  |  |
|  | - Biological hazard symbol | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - OGTR PC level sign | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - PC Level signs for non-GMO labs | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - Access restrictions | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - Approved Arrangement signage for use of quarantine materials | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 2.2 | Are there current copies of: |  |  |  |  |  |
|  | - SOP for work involving biological hazards? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - RAs for work involving biological hazards? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - BICON import permits for imported biological? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - Licences for dealing with NLRD GMOs? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - Wildlife trade permit for moving animals, plants or their products into or out of Australia? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - Risk group register for microorganisms and diagnostic specimens? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | - Training records of Lab. personnel? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 2.3 | Are all cultures or bio- hazardous materials correctly labelled? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 2.4 | Have the online lab safety modules been completed and records been kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 2.5 | Approved Arrangements for Accredited Persons training completed, and records kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.0 | Laboratory Procedures |  |  |  |  |  |
| 3.1 | Is the correct PPE and clothing available and being worn while working with biological hazards? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.2 | Are lab coats / gowns disinfected and washed regularly? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.3 | Is there a supply of hospital grade antiseptic for washing hands in the lab? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.4 | Do all staff remove PPE and then wash their hands before leaving the lab? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.5 | Is there a documented procedure for making up disinfectants? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.6 | Is diluted bleach stored away from heat and being kept in light proof containers with preparation date displayed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.7 | Are doors being kept closed while carrying out work in PC2 labs? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.8 | Are sharps being disposed of in approved sharps containers? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.9 | Is contaminated/infectious waste being placed in relevant bin (Biohazard/autoclave) lined with an appropriate bag (biohazard/autoclave) then disposed of/autoclaved appropriately? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.10 | Are personnel aware of the correct procedures for dealing with a biological spill? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.11 | Is there a suitable biological spill kit available, stocked and signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 3.12 | Are biosafety cabinets used when there is a likelihood of aerosol production? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 4.0 | Housekeeping and Equipment |  |  |  |  |  |
| 4.1 | All benches are clean and tidy? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 4.2 | Are all cabinets clean and tidy? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 4.3 | Are all containers labelled and stored correctly? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 4.4 | Equipment SOP/SWIs are available where applicable? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 4.5 | Personnel in inspection area are trained and records are kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 4.6 | Is equipment decontaminated on post use? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 4.7 | Are centrifuges fitted with either sealed rotors or safety cups where infectious material is being used? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 4.8 | Are there second containment vessels available for transporting viable microorganisms between labs? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 5.0 | Waste Disposal |  |  |  |  |  |
| 5.1 | Waste containers are provided and properly labelled with the waste name and appropriate GHS / DG Class diamonds? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 5.2 | Disposal of chemical / biological waste are completed as per SOP/SWI? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 5.3 | Are sharps being disposed of in an approved sharps container? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 6.0 | Biological Safety Cabinets |  |  |  |  |  |
| 6.1 | Are the cabinets free of waste and clutter? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 6.2 | Are the cabinets switched off when not in use? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 6.3 | Are biosafety cabinets certified annually and passed test? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 7.0 | Physical Requirements |  |  |  |  |  |
| 7.1 | Are laboratory coat hooks provided: |  |  |  |  |  |
|  | adjacent to the laboratory access (within the laboratory) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
|  | equal to or greater than the number of persons working in the laboratory? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 7.2 | Are protective covers provided for all keyboards on work benches? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 7.3 | PC/AA laboratory floors are free from damage. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 7.4 | Laboratory chairs are non-absorbent and free from damage. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 7.5 | Are separate work areas within the laboratory provided for reference documents, papers and writing space? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 7.6 | Are protective covers kept on keyboards which are located on work benches? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 7.7 | Are there hands-free basin mixers for handwashing near exits? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.0 | Emergency |  |  |  |  |  |
| 8.1 | Are all first aid kits stocked as per the label and contents are in-date? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.2 | First aid kit signed and accessible? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.3 | Have all fire extinguishers been inspected and tagged in the last 6 months? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.4 | Are fire extinguishers appropriately signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.5 | Are fire extinguisher types suitable for the plant, equipment and area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.6 | Are fire extinguishers accessible? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.7 | Are all staff and students trained to use fire extinguishers and records of training kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.8 | Are all emergency exits clear of obstructions? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.9 | Are all emergency exits signs illuminated? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.10 | Are staff aware of emergency procedures? (sample staff members) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.11 | Names and contacts of first aiders/fire wardens are displayed and current? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 8.12 | Are the safety showers and eye wash stations tested every week as per the Australian Standards? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 9.0 | Hazardous Chemicals |  |  |  |  |  |
| 9.1 | Chemical Inventory and SDSs are available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 9.2 | Chemical Spill kits are suitable, available, stocked and signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 9.3 | Containers are labelled as per GHS guidelines. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 9.4 | Are there separate storage cupboards for specific DG Classes of chemicals stored? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 9.5 | Is there physical segregation for incompatible chemicals of the same DG class (e.g. acids and alkalis) | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 9.6 | Gas cylinders stored securely and correctly? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 9.7 | Scheduled poisons stored securely and transaction records kept, if required. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 9.8 | Have PPRA’s been completed for all hazardous chemicals before ordering? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |
| 10 | Other |  |  |  |  |  |
| 10.1 |  | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐…Not applicable |  |  |  |  |

Add more rows as required