| College / Portfolio: |  |  |  |  |  | School / Work Unit: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location(s) Inspected: |  |  |  |  |  | Date of Inspection: |  |  |  |  |
| Inspection Team: |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  | E number: |  | Name: |  |  |  | E number: |  |
| Name: |  |  | E number: |  | Name: |  |  |  | E number: |  |

Add more rows as required

| # | Elements | Answer | Comment / Hazard / Action | Person Responsible | Due Date | Date Completed |
| --- | --- | --- | --- | --- | --- | --- |
| 1.0 | Layout |  |  |  |  |  |
| 1.1 | Area is tidy and well kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 1.2 | Adequate storage area provided? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 1.3 | Floor is free of obstructions? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 1.4 | Floor coverings are in good condition? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.0 | Environment (working conditions) |  |  |  |  |  |
| 2.1 | Temperature is suitable for the works being completed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.2 | Lighting is adequate for the works being completed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.3 | All lighting covers and fittings are secure? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.4 | Area is free from strong odours? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.5 | Noise level is acceptable/adequately controlled? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 2.6 | Ventilation is adequate in the area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.0 | Emergency Procedures |  |  |  |  |  |
| 3.1 | Emergency Evacuation signs are posted in suitable locations? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.2 | Fire extinguisher of appropriate type easily accessible and labelled? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.3 | Fire extinguishers have been tested / tagged in the last 6 months? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.4 | Local Induction for all persons is completed (where required)? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.5 | Emergency Evacuation routes are clear and free from obstructions? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 3.6 | Emergency and hazard signage lit and clearly visible? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 4.0 | First Aid Facilities |  |  |  |  |  |
| 4.1 | First Aid kits accessible and signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 4.2 | First Aid kits are stocked, and contents are in-date? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 4.3 | Names and contacts of first aiders are displayed and current? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.0 | Welfare/hygiene |  |  |  |  |  |
| 5.1 | Washing facilities are clean and functional? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.2 | Lockers or equivalent available for staff outside the lab area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 5.3 | Health, safety and wellbeing posters and information are displayed in a common area? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.0 | Manual Handling |  |  |  |  |  |
| 6.1 | Frequently used items are within easy access between knees and shoulders? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.2 | Heavy items are stored at waist height? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.3 | Stepladders or safe steps are available to access items stored on high shelves? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.4 | Trolleys are available for heavy items and loads? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.5 | Manual handling risk assessments completed where required | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 6.6 | Safe Work Instructions (SWI) / Safe Work Method Statements (SWMS) are available where applicable and communicated to staff and students? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.0 | Electrical |  |  |  |  |  |
| 7.1 | All plug-in electrical equipment has current test and tags? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.2 | All power leads are in good condition and free from damage? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.3 | Power leads are off the floor or placed away from walkways? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.4 | Power boards used (not double adaptors)? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.5 | Faulty equipment is locked/tagged out with an “out of service tag”? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.6 | “Out of Service” tags are available for use. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.7 | RCD protection fitted in the lab. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 7.8 | Emergency stop button is labelled and accessible (if present)? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.0 | General Laboratories |  |  |  |  |  |
| 8.1 | Warning and safety signage are in good condition? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.2 | Are the safety showers and eye wash stations tested as per the Australian Standards? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.3 | Procedures, plant and equipment manuals are current and available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 8.4 | Laboratory is free of food and drink? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 9.0 | Hazardous Chemicals |  |  |  |  |  |
| 9.1 | Chemical Inventory and SDSs are available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 9.2 | Spill kits are suitable, available, maintained and signed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 9.3 | Containers are labelled as per GHS guidelines. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 9.4 | Chemicals are stored correctly, bunded and segregated from all drains? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 9.5 | Gas cylinders stored securely and correctly? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 9.6 | Scheduled poisons stored securely and transaction records kept, if required. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 9.7 | Have chemicals been risk assessed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 10.0 | Plant/Equipment |  |  |  |  |  |
| 10.1 | Area around plant/equipment clean and access to it is clear? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 10.2 | Plant/hazardous equipment is locked/cannot be accessed when left unattended? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 10.3 | Plant and equipment maintained and in good condition? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 10.4 | Emergency stops (where fitted) are in working condition? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 10.5 | Plant guarding in place where required? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 10.6 | Risk Assessments and SWI are completed and available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 10.7 | Personnel are trained and records are retained? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 10.8 | Has out of service/lock out tags available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 11.0 | Fume Hoods |  |  |  |  |  |
| 11.1 | Are the fume hoods free of dirt, waste and clutter? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 11.2 | Are they switched off when not in use (where they can be switched off)? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 11.3 | Are the fume hoods tested on a regular basis and passed the test? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 12.0 | Biological Safety |  |  |  |  |  |
| 12.1 | Benches are clean and free from clutter? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 12.2 | Biosafety cabinets are clean and tidy? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 12.3 | Biological Samples are labelled and stored correctly | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 12.4 | SOP/SWI are available where applicable. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 13.0 | Waste Disposal |  |  |  |  |  |
| 13.1 | Waste containers are provided and labelled with class pictograms? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 13.2 | Disposal of chemical or biological or radiation waste is completed as per correct procedures? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 13.3 | Waste disposal procedures are available where applicable and communicated to staff and students? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 13.4 | Personnel are trained with waste disposal procedure and records kept. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 14.0 | Radiation Safety |  |  |  |  |  |
| 14.1 | Radiation Labelling and warning signage is displayed? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 14.2 | Radioactive sources are labelled and monitored for leakage? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 14.3 | Radiation sources stored correctly. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 14.4 | Records of isotopes and contamination surveys are kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 14.5 | SWIs and SOP are available? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 14.6 | Personnel in inspection area are trained with records kept. | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 14.7 | Personnel are wearing radiation monitors/badges | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 15.0 | Personal Protective Equipment (PPE) |  |  |  |  |  |
| 15.1 | All PPE is correctly stored? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 15.2 | PPE is well maintained and in good condition? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 15.3 | Signage of PPE requirements clearly displayed and visible? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 15.4 | Required PPE available for use? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 15.5 | Personnel in inspection area are trained and records kept? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 16.0 | Signage |  |  |  |  |  |
| 16.1 | Does the lab have appropriate mandatory signage on the door? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 16.2 | Is there emergency direction signage? | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 16.3 | Emergency and hazard signage are clearly visible | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 16.4 | Health and Safety Poster and information is displayed | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |
| 17.0 | Other |  |  |  |  |  |
| 17.1 |  | ☐ Acceptable ☐ Partially acceptable ☐ Not acceptable ☐ Not applicable |  |  |  |  |

Add more rows as required