## Equipment Schedule
| Room | System Type | Consultant | Integrator |  | Date | Schedule Version
| BBB.LL.RRR |  |  |  |  | DDMMMYY | V4.0
[11 empty] | BASIC IP INFORMATION - REQRUIED FOR ALL IP DEVICES | [7 empty] | CONVERGED IP STREAM SETTINGS |  |  |  |  | OTHER IP INFORMATION |  |  |  |  | DIGITAL SIGNAGE | [6 empty] | POWER TEST TAG
Equipment Category | Description | Brand | Part Number | BUILDING | LEVEL | ROOM NO. | DEVICE LOCATION | SERIAL NUMBER | ASSET No. | INSTALLED FIRMWARE | MAC ADDRESS | HOST NAME | IP ADDRESS | DHCP | SWITCH ID | SWITCH PORT ID | WALL DATA PORT ID | VLAN | UNICAST IP | MULTI CAST IP (VIDEO) | VIDEO STREAM No. | MULTI CAST IP (AUDIO) | AUDIO STREAM No. | DEFAULT GATEWAY | SUBNET MASK | DNS 1 | DNS 2 | NTP | APPSPACE ID | DIGITAL SIGNAGNE LOCATION NAME | ORIENTATION | USER NAME | LOCK OUT OR PASSWORD | SUPPLIER REFERENCE - FOR WARARNTY CLAIMS | Notes | TEST DATE | TAG/REFERENCE NO. | TESTED BY
|  |  |  | BBB | LL | RRR | Rack | [6 empty] | Y | [9 empty] | 10.X.X.254 | 255.255.255.0 | 10.68.196.1 | 10.84.196.1 | time1.rmit.edu.au | [5 empty] | Invoice or PO number

## Notes
NOTES
Equipment Category | Predefined list of equipment categories. Existing names must be used
Distributor | The distributor who supplied the item. This may be used for returns or warranty claims etc.
Brand | The Original manufacturer of the item
Description | Item description. Examples given
Part number | Manufacturers part number. This number must be reflected on the as built schematics
Building | The building the room is located in. Given as a 3 digit number i.e. 080
Level | The floor the room is located. Given as a 2 digit number i.e. 07
Room | The actual room number. Given as a 3 digit number with an optional suffix. i.e. 027 or 027A etc.
Location | The physical location of of the device within the room. I.e. ceiling void, lectern, rack, projector mount etc.
Serial number | The manufacturers serial number for the item. If no serial number is given then write n/a
Asset number | This is the red asset number label supplied by RMIT. The integrator is to install this label as directed by the AV standards document
Firmware | The firmware version number at time of practical completion
Port number | The physical port number that the device is plugged in to. This is required for VLAN provisioning
MAC Address | The MAC address of the units NIC whare applicable
Host name | For naming conventions please see document "AV Equipment Host Naming Standard"
DHCP | devices is enabled for DHCP - RMIT DHCP server (Infoblox) will issue the IP address to this device.
IP Address | The fixed IP address of the device. This will be issued by RMIT
Default Gateway | The default gateway for the network. This will be provided by RMIT
Subnet Mask | The Subnet mask for the network. This will be provided by RMIT
DNS 1 | The network address of RMIT's primary DNS. This will be provided by RMIT
DNS 2 | The network address of RMIT's secondary DNS. This will be provided by RMIT
NTP | The network address of RMIT's network clock. This will be provided by RMIT
User Name | Where a user name is given to a device then it is to be listed here. Default = AVTECH
Lock out or Pass word | Where a device has a password or user button lockout code, it is to be listed here. This includes factory default button combinations to unlock front panel or tech settings. All to be included even if detailed in the manual. The default should be 1988 (or 3421 if a limited range of numbers is available)
Supplier reference | This is a distributor reference number, such as PO or invoice number, to allow for warranty claims (and EAP points credits with AMX)
Test Date | Date AV equpiment & lead was tested
Reference | Reference number on tag
Tested By | The person who tested the piece AV equipment & lead

## Revision Table
Revision History
Version | Who | What | When
V1_0 | Dean McFadden RMIT | Created Schedule | 2013-04-15
V2_0 | Dean McFadden RMIT | Minor amendments and re issue | 2013-09-09
V2_1 | Dean McFadden RMIT | Include DHCP column | 2013-10-17
V2_2 | Adrian Ryan RMIT | New Equipment | 2014-08-31
V2_3 | Adam Attana RMIT | Added Test & Tag | 2014-11-25
V3.00 | Nikesh Kapadia RMIT | Added new columns - VLAN - UniCast IP - MultiCast IP (video) - Video stream - MultiCast IP (Audio) - Audio stream Changed column names: - Firmware to Installed Firmware - Port Number to Port Number In The Room - AV Type reference | XX/XX/2018
V3.20 | Craig Steven | Added - Version Number to Sheet - Default DNS1 - Default DNS2 Adjusted - Default NTP entre to time1 Note - Standard Equipment List to be updated | 2020-10-08

## Standard Equipment List
Equipment Category | Distributor | Brand | Description | Part Number
Audio | Assistive Hearing - IR Hearing Augmentation Transmitter | Williams Sound | Assistive Hearing - IR Hearing Augmentation Transmitter | IR T2
Audio | Assistive Hearing - IR Hearing Augmentation Receiver | Williams Sound | Assistive Hearing - IR Hearing Augmentation Receiver | WIR RX22-4N
Audio | Assistive Hearing - IR Hearing Augmentation Recharge Battery | Williams Sound | Assistive Hearing - IR Hearing Augmentation Recharge Battery | BAT026
Audio | Assistive Hearing - IR Hearing Augmentation Charging Station (2 Unit) | Williams Sound | Assistive Hearing - IR Hearing Augmentation Charging Station (2 Unit) | CHG 3502
Audio | Assistive Hearing - IR Hearing Augmentation Neck loop | Williams Sound | Assistive Hearing - IR Hearing Augmentation Neck loop | NKL 001
Audio | Assistive Hearing - IR Hearing Augmentation Headphones | Williams Sound | Assistive Hearing - IR Hearing Augmentation Headphones | HED 024
Audio | Assistive Hearing - Loop Amplifier | Ampetronic | Assistive Hearing - Loop Amplifier | MLD9
Audio | Audio Amplifier | Australian Monitor | Audio Amplifier | AM22P
Audio | Audio Amplifier | Extron | Audio Amplifier | XPA-1002 (100V)
Audio | Audio Amplifier | Quest | Audio Amplifier | QA3004
Audio | Audio Distribution Amplifier | Extron | Audio Distribution Amplifier | DA MDA 3A
Audio | Ceiling Speaker (In Ceiling) | JBL | Ceiling Speaker (In Ceiling) | Control 26CT
Audio | Ceiling Speaker (Pendant) | JBL | Ceiling Speaker (Pendant) | Control 64ZP/T
Audio | Digital Signal Processor | QSC | Digital Signal Processor | Core 110x
Audio | Microphone - Boundary | Beyer Dynamic | Microphone - Boundary | BM32B
Audio | Microphone - Boundary (Wireless) | Revolabs | Microphone - Boundary (Wireless) | HDTBLMIC-OM
Audio | Microphone - Desk Top Charger (Dual) | Revolabs | Microphone - Desk Top Charger (Dual) | HDDUAL
Audio | Microphone - Gooseneck (c/w Shockmount) | Audio-Technica | Microphone - Gooseneck (c/w Shockmount) | U857Q-C
Audio | Microphone - Handheld (Wireless) | Shure | Microphone - Handheld (Wireless) | MXW2/SM58
Audio | Microphone - Lapel (Wireless) | Shure | Microphone - Lapel (Wireless) | MXW1
Audio | Microphone - Reciever | Shure | Microphone - Reciever | MXWAPT2
Audio | Microphone - Pendant | Audio-Technica | Microphone - Pendant | Pro45/W
Audio | Network Audio Receiver/Transmitter | QSC | Network Audio Receiver/Transmitter | Q-SYS I/O-8 FLEX
Audio | Speaker - FOH (Active) | Australian Monitor | Speaker - FOH (Active) | AMPAV30W
Audio | Speaker - FOH + Delay | Quest | Speaker - FOH + Delay | HPI8i
Audio | Speaker - FOH (Primary) | Quest | Speaker - FOH (Primary) | HPI111
Audio | Microphone - USB | Clearone | Microphone - USB | Chat 150
Camera | Camera - IP | Axis | Camera - IP | M3085-V
Camera | Camera - PTZ | Sony | Camera - PTZ | SRG-X120
Camera | Camera - USB | Logitech | Camera - USB | MeetUp
Camera | Document Camera | Elmo | Document Camera | P30HD
Camera | Document Camera | Epson | Document Camera | ELP-DC21
Capture | Lecture Capture | Echo 360 | Lecture Capture | EchoPro
Control | Connection Plate - USB | Extron | Connection Plate - USB | 70-455-12
Control | Control Interface - IP to Contact Closure | Global Cache | Control Interface - IP to Contact Closure | iTash - IP2CC
Control | Control Interface - IP to RS232 | Global Cache | Control Interface - IP to RS232 | iTash - IP2SL
Control | Control System Processor | Crestron | Control System Processor | RMC4
Control | Controller - 10" Touch Screen | Crestron | Controller - 10" Touch Screen | TSW-1070-NC-B-S
Control | Controller - Keypad | Crestron | Controller - Keypad | MPC3-302
Control | Controller - Keypad (MoCoW Only) | Crestron | Controller - Keypad (MoCoW Only) | MPC3-302
Control | Controller - Secure Table Mount for 10" Touch Screen | Crestron | Controller - Secure Table Mount for 10" Touch Screen | TSW-1070-TTK-B-S
Control | Motion Detector - Quantum 360 | Ness | Motion Detector - Quantum 360 | 100-048
Control | Switcher - USB 2:1 | Extron | Switcher - USB 2:1 | 60-952-02
Control | Twisted Pair - USB HUB (Plate) | Extron | Twisted Pair - USB HUB (Plate) | USB HUB4 MAAP
Control | Twisted Pair - USB Receiver | Extron | Twisted Pair - USB Receiver | USB Extender Plus R
Control | Twisted Pair - USB Receiver (Plate) | Extron | Twisted Pair - USB Receiver (Plate) | USB Extender Plus D R
Control | Twisted Pair - USB Transmitter | Extron | Twisted Pair - USB Transmitter | USB Extender Plus T
Display Device | LCD Screen | NEC | LCD Screen | V Series, P Series
Display Device | LCD Screen | Sony | LCD Screen | Bravia Pro (KD Series)
Display Device | LCD Screen (Interactive) | Viewsonic | LCD Screen (Interactive) | Viewboard 52 series
Display Device | Projector | Epson | Projector | EB-PU1007WNL
IPTV | IPTV - Tuner/Receiver (c/w RS232) | Combitel | IPTV - Tuner/Receiver (c/w RS232) | H140
Mounting | Equipment Rack | Elgee | Equipment Rack | Zip Rack
Mounting | Equipment Rack | MFB | Equipment Rack | S2005B
Mounting | Equipment Rack | Rack Technologies | Equipment Rack | 19”C series
Mounting | Equipment Rack | Middle Atlantic | Equipment Rack | SRSR4xx series
Mounting | LCD Screen - Behind Screen Mounting Bracket | Ultralift Australia | LCD Screen - Behind Screen Mounting Bracket | J10398
Mounting | LCD Screen - Mounting Bracket (Wall, Pole, Cantilever) | Ultralift Australia | LCD Screen - Mounting Bracket (Wall, Pole, Cantilever) | All Acceptable
Mounting | LCD Screen - Mounting Bracket (PC Monitor - Desk Mount) | Ergotron | LCD Screen - Mounting Bracket (PC Monitor - Desk Mount) | LX Deskmount
Mounting | LCD Screen - Mounting Bracket (Wall, Pole, Cantilever) | Vogels | LCD Screen - Mounting Bracket (Wall, Pole, Cantilever) | All Acceptable
Mounting | LCD Screen - Trolley for MoCoW (Up/Down) | Ultralift Australia | LCD Screen - Trolley for MoCoW (Up/Down) | RMIT-CTVERT
Mounting | LCD Screen - Trolley for MoCoW (Up/Down/Tilt Flat) | Ultralift Australia | LCD Screen - Trolley for MoCoW (Up/Down/Tilt Flat) | RMIT-CTFLIP
Mounting | Projector - Bracket (Equipment Cage) | Ultralift Australia | Projector - Bracket (Equipment Cage) | J8322
Mounting | Projector - Bracket (MotorisedLifter c/w Tensioning Belt) | Ultralift Australia | Projector - Bracket (MotorisedLifter c/w Tensioning Belt) | Prolift Series
PDU | Power Supply - 240V | ServerEdge | Power Supply - 240V | SEDG-8P-GPO-SP
PDU | Power Supply - 240V (IP) | Serverlink | Power Supply - 240V (IP) | SLP-SB1008-H
PDU | Power Supply - Low Voltage | Extron | Power Supply - Low Voltage | PS124
Video | AV Switcher - Fixed I/O | Extron | AV Switcher - Fixed I/O | IN1606 (60-1081-01)
Video | AV Switching - Matrix (Cardframe) | Extron | AV Switching - Matrix (Cardframe) | CrossPoint 1600 C/W IP/OP Cards and RPS
Video | Distribution Amplifier - HDMI 1:2 | Extron | Distribution Amplifier - HDMI 1:2 | HDMI DA2 HD 4K
Video | Media Decoder - H.264 | SVSI | Media Decoder - H.264 | NMX-DEC-N3232
Video | Media Encoder - H.264 | SVSI | Media Encoder - H.264 | NMX-ENC-N3132
Video | Media Encoder/Decoder - H.264 (Undertable Mount) | SVSI | Media Encoder/Decoder - H.264 (Undertable Mount) | NMX-ACC-N9101
Video | Projection Screen - Motorised | Screen Technics | Projection Screen - Motorised | ElectriCinema
Video | Repeater - HDMI | Kramer | Repeater - HDMI | PT-101xL
Video | Twisted Pair - HDMI Extender/Distribution Amp 1:4 | Kramer | Twisted Pair - HDMI Extender/Distribution Amp 1:4 | VM-114 H4C
Video | Twisted Pair - HDMI Receiver | Kramer | Twisted Pair - HDMI Receiver | PT-572+
Video | Twisted Pair - HDMI Receiver | Extron | Twisted Pair - HDMI Receiver | DTP HDMI 4K 330 Rx
Video | Twisted Pair - HDMI Receiver | Extron | Twisted Pair - HDMI Receiver | XTP SR HDMI
Video | Twisted Pair - HDMI Transmitter | Extron | Twisted Pair - HDMI Transmitter | DTP HDMI 4K 330 Tx
Video | Twisted Pair - HDMI Transmitter | Extron | Twisted Pair - HDMI Transmitter | XTP T HDMI (60-1043-12)
Video | Twisted Pair - HDMI Transmitter (Plate) | Extron | Twisted Pair - HDMI Transmitter (Plate) | DTP T HWP 4K 331 D
Video | Twisted Pair - Multi-format Transmitter | Extron | Twisted Pair - Multi-format Transmitter | XTP T USW 103 (60-1198-01)
Video | Switcher - HDMI 2:1 | Extron | Switcher - HDMI 2:1 | SW2 HDMI (60-841-21)
Video | Switcher - HDMI 4:1 | Crestron | Switcher - HDMI 4:1 | HD-MD4x1-4K-E
Video | Video Scaler | Extron | Video Scaler | DSC HD-HD