Room Audio Measurements Audio Visual Date of Test: XX/XX/20XX Location: AV Project: AVxxx

## Audio Testing – System Noise

Refer section 4.3 of “AV-DOC-02-V4.0--Deployment Guide” for further information.

Note: Time of measurement. Ensure air conditioner and any other relevant devices are operating.

|  |  |  |  | Desirable | Acceptable | Unacceptable |
| --- | --- | --- | --- | --- | --- | --- |
| Above Ambient, LAeq dB(A) |  |  |  | < 0 | 0 – 5 | > 5 |
| Postion 1 |  |  |  |  |  |  |
| Postion 2 |  |  |  |  |  |  |
| Postion 3 |  |  |  |  |  |  |
| Postion 4 |  |  |  |  |  |  |
| Postion 5 |  |  |  |  |  |  |
| Postion 6 |  |  |  |  |  |  |
| Postion 7 |  |  |  |  |  |  |
| Postion 8 |  |  |  |  |  |  |
| Postion 9 |  |  |  |  |  |  |

## Audio Testing – SPL (Program)

Refer section 4.9 of “AV-DOC-02-V4.0--Deployment Guide” for further information.

Note: Time of measurement. Ensure air conditioner and any other relevant devices are operating.

|  |  |  |  | Desirable | Acceptable | Unacceptable |
| --- | --- | --- | --- | --- | --- | --- |
| Peak Digital Signal Level, dB(A)Slow |  |  |  | 85 | 75-85 | <75 |
| Left FOH Speaker |  |  |  |  |  |  |
| Right FOH Speaker |  |  |  |  |  |  |

## Audio Testing – SPL (Speech)

Refer section 4.9 of “AV-DOC-02-V4.0--Deployment Guide” for further information.

Note: Time of measurement. Ensure air conditioner and any other relevant devices are operating.

|  |  |  |  | Desirable | Acceptable | Unacceptable |
| --- | --- | --- | --- | --- | --- | --- |
| Peak Digital Signal Level, LAeq dB(A) |  |  |  | 65 – 70 | 60 – 65 | < 60 |
| Left FOH Speaker |  |  |  |  |  |  |
| Right FOH Speaker |  |  |  |  |  |  |

## Frequency Response (Program)

Refer sections 4.14 & 4.16 of “AV-DOC-02-V4.0--Deployment Guide” for further information.

Note: Time of measurement. Ensure air conditioner and any other relevant devices are operating.

|  |  |  |  | Desirable | Acceptable | Unacceptable |
| --- | --- | --- | --- | --- | --- | --- |
| Internal Noise LAeq, dB(A) (100Hz – 10kHz) |  |  |  | all deviations fall within ±3dB | when all deviations fall within +3/-10dB | any deviations fall outside +3/-10dB |
| Left FOH Speaker |  |  |  |  |  |  |
| Right FOH Speaker |  |  |  |  |  |  |

## Frequency Response (Speech)

Refer sections 4.14 & 4.16 of “AV-DOC-02-V4.0--Deployment Guide” for further information.

Note: Time of measurement. Ensure air conditioner and any other relevant devices are operating.

|  |  |  |  | Desirable | Acceptable | Unacceptable |
| --- | --- | --- | --- | --- | --- | --- |
| Internal Noise LAeq, dB(A) (100Hz – 10kHz) |  |  |  | all deviations fall within ±3dB | when all deviations fall within +3/-10dB | any deviations fall outside +3/-10dB |
| Left FOH Speaker |  |  |  |  |  |  |
| Right FOH Speaker |  |  |  |  |  |  |

## Audio Testing – Coverage Uniformity

Refer section 4.20 of “AV-DOC-02-V4.0--Deployment Guide” for further information.

Note: Time of measurement. Ensure air conditioner and any other relevant devices are operating.

|  |  |  |  | Desirable | Acceptable | Unacceptable |
| --- | --- | --- | --- | --- | --- | --- |
| dB(Z)Slow |  |  |  | > 90 | > 75 | < 75 |
| Postion 1 |  |  |  |  |  |  |
| Postion 2 |  |  |  |  |  |  |
| Postion 3 |  |  |  |  |  |  |
| Postion 4 |  |  |  |  |  |  |
| Postion 5 |  |  |  |  |  |  |
| Postion 6 |  |  |  |  |  |  |
| Postion 7 |  |  |  |  |  |  |
| Postion 8 |  |  |  |  |  |  |
| Postion 9 |  |  |  |  |  |  |

## Audio Testing – Speech Transmission Index (STI)

Refer section 4.27 of “AV-DOC-02-V4.0--Deployment Guide” for further information.

Note: Time of measurement. Ensure air conditioner and any other relevant devices are operating.

|  |  |  |  | Desirable | Acceptable | Unacceptable |
| --- | --- | --- | --- | --- | --- | --- |
| dB(Z)Slow |  |  |  | > 0.68 | 0.68 – 0.56 | < 0.56 |
| Postion 1 |  |  |  |  |  |  |
| Postion 2 |  |  |  |  |  |  |
| Postion 3 |  |  |  |  |  |  |
| Postion 4 |  |  |  |  |  |  |
| Postion 5 |  |  |  |  |  |  |
| Postion 6 |  |  |  |  |  |  |
| Postion 7 |  |  |  |  |  |  |
| Postion 8 |  |  |  |  |  |  |
| Postion 9 |  |  |  |  |  |  |