| Einscan-pro 3D scanner Safe Operating Process |  |  |  |  |
| --- | --- | --- | --- | --- |
| This Safe Operating Process (SOP) is to be used in conjunction with any legislation, operating manuals, Australian or International Standards or task relevant training. |  |  |  |  |
| Description of the Work: |  |  |  |  |
| Use of the Einscan-Pro 3D scanner to complete 3D scanning projects |  |  |  |  |
| Personal Protective Equipment Required: remove any which are not relevant None required |  |  |  |  |
| Potential Hazards |  |  |  |
| - Water leaks and electricity. Do not use near any wet surfaces |  |  | - Some users may be affected by the flashing/strobe light produced when scanner is operational |
| - Pinching when setting up the tripod |  |  | - Trip hazard from cables |
| - Possible arm or hand string during hand held operation and calibration |  |  |  |
| Pre-Operational Safety Checks: |  |  |  |
| - Ensure you have completed the 3D scanner induction - Consult with a makerspace technician to organise a space to work on your scanning project - Ensure you have enough space to move if you are doing a hand held scan - Ensure workspace is clean and dry - Make sure you have a copy of the user manual at hand as you will need to refer to this. - Connect scanner to PC as detailed in the user manual. Ask your MakerSpace technician for assistance if you are unsure - Ensure that any cables are not a tripping hazard |  |  |  |
| Operational Safety Checks: |  |  |  |
| - The scanner may require calibration - check user manual for instruction - Ensure you have enough space to move if you are doing a hand held scan - Be aware of cables when scanning is hand held mode. When moving around the object you are scanning you may cables may become a hazard - Check that strobe light is not impacting on any member of your project team or others in the the MakerSpace. |  |  |  |
| Post-Operational Safety Checks: |  |  |  |
| - Unplug and pack away 3D scanner - Clear work area or any residue or debris |  |  |  |
| Housekeeping: |  |  |  |
| - Ensure all parts are stored correctly |  |  |  |
| Maintenance & Cleaning |  |  |  |
| Daily/ per usage - Ensure scanner and component parts are packed away neatly - Wipe lense with lint free cloth (MS Technician) Periodically - Check for software or firmware updates |  |  |  |
| Assessed by: |  |  |  |
| Date of Assessment: |  |  |  |