| 1.1 Contact Details |
| --- |
| Applicant Name: | Company: | Date: |
| Position: | Mobile Phone: | Email: |
| RMIT Representative (Name): | Capital Works | Facilities & Asset Mgt | Other |
| 1.2 Works Information |
| Building: | Level: | Room: | Description of Work to be carried Out: Note: one permit is required per building |
| Impact: Will these works cause impact outside your designated work site? Yes No If yes describe impact e.g. noise, dust, vibration, transport & materials, skips, etc.? |
| Has the Building Impacts and Risk Register been reviewed? Yes No Please provide details: |
| Cost Code(mandatory for isolations) | PSG#: | OR Work Request/IO Code: |
| Notes: Permit requests submitted without a valid cost code will be rejected and associated works may be delayed. Fire service isolations are to be conducted by Airmaster only and a charge will be applicable |
| 1.3 Summary of Permit Application |
| Please tick Permits Requested in Application | Details of Current Valid Permits for this Project |
|  | Start Date | Finish Date | Permit Ref # | Expiry Date |
|  | Fire Isolation |  |  |  |  |
|  | Services Isolation |  |  |  |  |
|  | Working at Height |  |  |  |  |
|  | Excavation / Floor Penetration |  |  |  |  |
|  | B108 /201 Permit |  |  |  |  |
|  | Hazardous Materials |  |  |  |  |
|  | Hot Work |  |  |  |  |

| 2.1 Isolation Request |
| --- |
| Notes: Permit requests submitted without a valid cost code will be rejected and associated works may be delayed. Fire service isolations are to be conducted by Airmaster only and a charge will be applicable |
| Who on site is to be notified of Fire Service Isolations - Name____________________ Mobile Phone _____________________ |
| Please specify contractor to carry out the following isolations, if isolation is required |
| Electrical contractor | Mechanical contractor | Hydraulic /Water contractor |
| Gas contractor | Other contractor | Other contractor |
| 2.2 Isolation Details | Fire Service Isolations Only Airmaster have authority to isolate RMIT Fire Services | All Other Isolations Services |
| Day # | Date (DDMMYYYY) | Isolation Time (XX:XX 24hr) | Deisolation Time (XX:XX 24hr) | Smoke* | Thermal* | Sprinklers* | Hydrant* | Gas Suppression | Mechanical | Gas | Electrical | Hydraulic/Water | Other |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Works to only commence once conformation of isolation has occurred and Lock out Tag out (LOTO) processes are in place |

| 3.1 Type of Fall Protection System |
| --- |
| RMIT Work at Height permit is required where using RMIT maintained height access infrastructure. If applicable, please select from below selections. |
|  | Fall restraint system |  | Limited Free Fall – max free fall less than 600mm |  | Fall-arrest system – max free fall 2m |  | Rope access |

| 3.2 Mandatory Requirements Answer ‘Yes’, ‘No’ or ‘N/A’ for each question |
| --- |
| Answers must be ‘Yes’, for RMIT to approve the Working at Height Permit. | YES |  | NO |
| Number of Workers working at height _________________________________________ |  |  |  |
| Are RMIT installed or maintained fall protection systems being utilised. If no, - Permit is not required |  |  |  |
| Will person be walking or working on fragile surfaces |  |  |  |
| Are all single-person fall-arrest anchor points capable of withstanding 15kN? and tagged within 12 months? |  |  |  |
| Are all two person fall-arrest anchor points capable of withstanding 21kN? and tagged within 12 months? |  |  |  |
| Do all fall-arrest systems use a full-body harness with a shock-absorbing lanyard or inertia device? |  |  |  |
| Fall restraint/arrest equipment inspected prior to use e.g. equipment tagged or log books available? |  |  |  |
| Is all fall protection equipment tagged with current inspection dates? |  |  |  |
| Have controls been put in place to ensure no person at height will be working in isolation? |  |  |  |
| Will there be a spotter/observer in place to initiate rescue plan? |  |  |  |
| Have personnel working or operating equipment at height received adequate information, instruction and training? |  |  |  |
| Dropped Objects |
| Are controls in place for potential falling objects e.g. tools tethered, exclusion zone, spotter, catch platform, signage? |  |  |  |
| Does the work method protect workers on lower levels? |  |  |  |
| Will an exclusion zone be established below the work area? |  |  |  |
| 3.3 The following information must be attached to this permit application: | YES |  | NO |
| An RMIT site and task specific Safe Work Method Statement, including Rescue Plan (SWMS). |  |  |  |
| Evidence of appropriate competency of workers. Working at height Minimum competency requirement is National recognised course - RIIWHS204D - Work safely at heights. |  |  |  |
| Evidence of appropriate competency of workers. Rope access Minimum competency requirement is National recognised course | ARATA or IRATA Project Supervisor Level 3 RAT Site Supervisor Level 2 RAT Rope Access Level 1 RAT |  |  |

| 4.1 Excavation / Penetration Details |
| --- |
| Excavation/Penetration is digging or drilling with a mechanical aid, with a shovel, spade, pick or crowbar, driving poles, piling, grubbing or scraping to any depth and compacting activities. |
| SWMS Completed and Attached | Yes No | Disruption to Occupants Expected | Yes No |
| Excavation/Penetration Details | Depth: | Width: | Length: |
| **WorkSafe Notification – required for any trenches greater than 1.5m deep** |
| Is a WorkSafe notification required? | Yes No | Completed | Yes No | Details: |
| Has the Hazmat Database been reviewed for potential subsurface contamination in proposed work area? | Yes No |
| Has contamination or suspect contamination been identified in the proposed excavation area? If yes, please ensure appropriate controls are in SWMS provided | Yes No |
| 4.2 All Services to be identified within 5 metres of proposed works |
| Service Description | Present Y/N | Safety/ Commercially Critical Y/N | RMIT Ground Services Map Reviewed Y/N | DBYD* drawings attached Y/N | Service authority (DBYD* Sequence No.) | Have services been scanned, located & positions marked Y/N | Have services been positively identified via pot holing Y/N |
| Electricity |  |  |  |  |  |  |  |
| Gas |  |  |  |  |  |  |  |
| Water |  |  |  |  |  |  |  |
| Sewer |  |  |  |  |  |  |  |
| Storm water |  |  |  |  |  |  |  |
| Telecommunications |  |  |  |  |  |  |  |
| Vic Roads |  |  |  |  |  |  |  |
| Optic Fibre |  |  |  |  |  |  |  |
| Fuel |  |  |  |  |  |  |  |
| Rail Signalling & OH |  |  |  |  |  |  |  |
| Electricity – HV |  |  |  |  |  |  |  |
| Tree Protection Zones (RMIT doc) |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |
| Observe power NO GO ZONES as per the Authorities Requirements *DBYD = dial before you dig |
| An appropriate emergency response plan is attached Yes No N/A |
| Is Mechanical Digging taking place within 1 metre horizontally or over the top of any service: Yes No |
| If Mechanical Digging is taking place within 1 metre horizontally or over the top of any service: Prepare a Specific Risk Assessment relating details of approach to working closely around the service Positively identify and completely uncover the service via NDD or potholing in the proposed location. Use specific personnel to supervise the works (e.g. specialist services spotter) |

| 5.1 Details |
| --- |
| Proposed Period of Works | From Date/Time: | To Date/Time: |
| SWMS or Risk Assessment Completed | Yes No | Disruption to Occupants Expected | Yes No |
| Are asbestos-containing materials likely to be disturbed by the proposed works? | Yes No If yes, please fill out Section 6 |
| 5.2 Description of Works |
|  | YES |  | NO | Details |
| Works in ceiling voids |  |  |  | Description of Work to be carried Out: Note: one permit is required per building |
| Destructive Works to wall, ceilings or floors |  |  |  |  |
| Destructive works into external wall cavities |  |  |  |  |
| Accessing risers |  |  |  |  |
| Work on services fixed to external walls (including cable trays) |  |  |  |  |
| Affecting pipework/gaskets |  |  |  |  |
| Disruption to Occupants Expected |  |  |  |  |
| Task specific SWMS or Risk Assessment Completed | YES |  | NO | Details |
| Have All Contractors undertaking works in B108 and B201 been inducted into HAZMAT Management? |  |  |  |  |
| Have the following RMIT documents been reviewed: |  |  |  |  |
| Site Plans? |  |  |  |  |
| Hazardous Materials Register? |  |  |  |  |
| Asbestos Management Plan (AMP)? |  |  |  |  |

| 6.1 Details |
| --- |
| Proposed Period of Works | From Date/Time: | To Date/Time: |
| SWMS or Risk Assessment Completed | Yes No | Disruption to Occupants Expected | Yes No |
| 6.2 Hazmat Due Diligence For works likely to Disturb Hazmat Material |
| Have the following RMIT documents been reviewed: | YES |  | NO | Provide details or attach evidence of review |
| Hazardous Materials Register? |  |  |  |  |
| Hazmat Management Plan? |  |  |  |  |
| Are asbestos or lead-containing materials likely to be disturbed or damaged by the proposed works? |  |  |  | If ‘Yes’ please complete section 5.3 |
| What other hazmat material are like to be disturbed: | YES |  | NO | Provide details/comment of how these will be safely managed during works |
| Flammable Facades |  |  |  |  |
| Synthetic mineral fibres (SMF) |  |  |  |  |
| Polychlorinated biphenyls (PCBs) |  |  |  |  |
| Ozone depleting substances (ODS) |  |  |  |  |
| 6.3 Risk Assessment and Controls for Disturbance of Hazmat Materials |
| Has an Asbestos Management Plan (AMP) or site-specific risk assessment been established? | Yes N/A |
| Are specialist asbestos related contractors required to assist in conducting the proposed works? | Yes No |
| Provide the following details: | Name /Contractor | Contact Details |
| Provide details of RMIT Panel Asbestos Removal Contractor |  |  |
| Provide details RMIT Panel Independent Hygienist to monitor works |  |  |
| Provide details of other contractors involved in the Asbestos removal process |  |  |
| The following information must be attached with the permit application (for all hazmat): | Attached |
|  | YES | NO |
| Asbestos Control Plan (asbestos only) |  |  |
| Evidence of hygienist review of Asbestos Control Plan (asbestos only) & Scope of Works (all hazmat) |  |  |
| Site and task specific SWMS or risk assessment (all hazmat) |  |  |
| Evidence of appropriate competency of workers (all hazmat) |  |  |
| Risk Assessment per requirements of PS/WI/RC/2044 SMF Contractor Minimum Requirements (SMF only) |  |  |

| 7.1 Contractor Hot Work Permit |
| --- |
| Does your company have an existing RMIT Hot Work Permit approval? | Yes No |
| If existing RMIT Hot Work Permit in place, please provide details. | Permit ref#: |
|  | Expiry Date |
| If a new hot work permit is requested for these works, please attach copy of your company’s hot work permit which will be used for task specific activities. | Attached |
| Contractors are expected to have their own hot work permit process in place The RMIT Hot Work Permit is used to verify that the contractor’s hot work permit process meets RMIT minimum requirements listed below |
| Does your procedure include information with regard to (mark all as appropriate)? (* mandatory) | Yes | No | Comment |
| SWMS/risk assessment/procedure specific to RMIT* |  |  |  |
| Barricades or warning signage |  |  |  |
| Covering of drains and penetrations |  |  |  |
| Control of flammable substances/chemicals/ gases |  |  |  |
| Personal protective equipment and clothing requirements |  |  |  |
| Identification of other RMIT permit needs e.g. fire or service isolations* |  |  |  |
| Site based hot works permit (must not last longer than one shift)* |  |  |  |
| Safety observer/fire watcher |  |  |  |
| Flash screens and/or barriers |  |  |  |
| Control of combustible materials |  |  |  |
| Appropriate portable firefighting equipment |  |  |  |
| Fire watch periods of 60 minutes following work* |  |  |  |
| Controlling disruptions to building occupants |  |  |  |
| Appropriate storage/transport/disposal of flammable/combustible waste |  |  |  |

| 8.1 Permit Office Summary |
| --- |
| The following permits have been approved: Fire and Services Isolation Working at Height Excavation / Floor Penetration Hazardous Materials Hot Work |
| Property Services Representative consulted for scheduling and works notice requirements. | Date Emailed: |  |
| PropServ Desk required to raise Work Request (WR) for Airmaster (refer Section 1 of this Permit Works Request for information) Yes No | Date Emailed: |  |

| 8.2 Permit Approval |
| --- |
| Permit Approved | Yes | No | Date | Name | Who can Authorise |
| Fire and Services Isolation (Technical Review has been assessed) |  |  |  |  | Senior Facilities Co-ordinator |
| Excavation / Floor Penetration |  |  |  |  | RMIT Representative engaging works |
| Working at Height |  |  |  |  | RMIT Representative engaging works |
| B108 /201 Permit |  |  |  |  | Senior Facilities Co-ordinator |
| Hazardous Materials |  |  |  |  | Safety Team |
| Hot Work |  |  |  |  | Safety Team |
| Permit Conditions: |
| 8.3 FM Notification completed |
| Permit Notification | Date Completed | Permit Conditions |
| Excavation / Floor Penetration |  |  |
| Working at Height |  |  |
| B108 /201 Permit |  |  |
| Hazardous Materials |  |  |
| Hot Work |  |  |
| Name: |  |  |

| 9.1 Contractor Confirmation |
| --- |
| Site walk through completed between the Permit Holder and Site Manager: | Date: |  |
| Scope of works clearly defined and agreed work methods in place (SWMS): | SWMS Ref No’s: |  |
| Permit conditions (if identified on this permit) have been communicated between the Works Supervisor and Crew: | Date: |  |
| Permit Holder (Name/Date/Signature): |  |
| Site Manager (Name/Date/Signature): |  |

| 9.2 Workforce Acknowledgement / Sign on (must be completed by each contractor/subcontractor working under this Permit to Work) |
| --- |
| As a person required to work under this Permit to Work (PTW), I confirm: I understand the permit requirements and have had an adequate handover to ensure controls specified will be communicated, implemented and monitored for effectiveness throughout the works. I have read, and/or have had explained and understood the requirements of the SWMS and any associated Permits. I have asked questions if I am unsure and have / will report any concerns / issues immediately. I will notify the Supervisor if I become aware of a new hazard or change in conditions while performing the works. |
| NAME | DATE | TIME (24HR) | SIGNATURE |

| 9.3 Permit Handover (for change of Permit Holder) |
| --- |
| I understand the permit requirements and have had an adequate handover to ensure controls specified will be communicated, implemented and monitored for effectiveness throughout the works. |
| New Permit Holder (Name/Date/Signature): |  |
| Site Manager (Name/Date/Signature): |  |

| 10.0 Permit Closure (Contractor to complete at the conclusion of works under Permit) |
| --- |
| 1. Fire & Isolation Permit | Date works complete / permit closed: ……./……./………… | Applicant (Head / Principal Contractor) Name: (if different from Section 1) ………………………………………….. | Date Emailed to Permit Office: ……./……./………… |
| 2. Working at Height Permit | Date works complete / permit closed: ……./……./………… | Applicant (Head / Principal Contractor) Name: (if different from Section 1) ………………………………………….. | Date Emailed to Permit Office: ……./……./………… |
| 3. Excavation / Floor Penetration Permit | Date works complete / permit closed: ……./……./………… | Applicant (Head / Principal Contractor) Name: (if different from Section 1) ………………………………………….. | Date Emailed to Permit Office: ……./……./………… |
| 4. Hazardous Materials Permit | Date works complete / permit closed: ……./……./………… | Applicant (Head / Principal Contractor) Name: (if different from Section 1) ………………………………………….. | Date Emailed to Permit Office: ……./……./………… |
| 5. Hot Work Permit | Date works complete / permit closed: ……./……./………… | Applicant (Head / Principal Contractor) Name: (if different from Section 1) ………………………………………….. | Date Emailed to Permit Office: ……./……./………… |