Satisfactory	 Unsatisfactory	Comments

Communications Room

Access & locks			          		_____________________________

Door Seals	                   		          		_____________________________

Door Vents	                   		          		_____________________________

Floor sealed                   		          		_____________________________

Cleanliness				          		_____________________________

Air Conditioning			          		_____________________________

Lighting	                   		          		_____________________________

Power Outlets for Rack(s)		          		_____________________________

UPS		                   		          		_____________________________

Racks

Krone Standard			          		_____________________________

Fibre Tray Provided			          		_____________________________

Fibre Tray labelled			          		_____________________________

UTP Patch Panel(s) Provided		          		_____________________________

Patch Panel Labelled			          		_____________________________

Patch panel angled & secured		          		_____________________________

Telephone Tie Patch provided		          		_____________________________

Telephone Records provided		          		_____________________________

Cable Mgmt	installed		          		_____________________________

Patch leads                   		          		_____________________________

Qty/Colour/Length					_____________________________

Rack layout (as per design)		          		_____________________________

Satisfactory	 Unsatisfactory	Comments

Floor

Accessibility				          		_____________________________

Cleanliness				          		_____________________________

Furniture in place			          		_____________________________

Access to Cable Runs			          		_____________________________

Wireless data points installed		          		_____________________________

Labelling of outlets			          		_____________________________

Fly leads				          		_____________________________

UTP Tested                			          		_____________________________

UTP Test Results Supplied    		          		_____________________________

Fibre Tested				          		_____________________________

Fibre Test Results Supplied    		          		_____________________________

Rough As Build Document

with Outlet No’s provided		          		_____________________________

Provided   Not Provided		Comments

User Occupancy Information

Desk Allocation			          		_____________________________

Telephone Data			          		_____________________________

PC’s					          		_____________________________

MFD (Printer & Fax)			          		_____________________________

IP Clocks				          		_____________________________

AV Requirements                   		          		_____________________________

Security System Requirement		          		_____________________________

CCTV Requirements			          		_____________________________

Building Automation Systems:					_____________________________

Emergency Lights		          		_____________________________

DDC/BMS			          		_____________________________

Metering			          		_____________________________

OH&S

Yes	         No		Comments

Site safe for ITS staff             		          		_____________________________

| PC DEFECTS REGISTER |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| <INSERT PROJECT NAME> |  |  |  |  |  |
| <INSERT DATE> <INSERT VERSION NO> |  |  |  | DEFECTS LIABILITY PERIOD: <DATE> TO <DATE> |
| ITEM | DATE | LEVEL | ROOM NO. | RMIT ROOM NO. | AREA | AUTHOR | TYPE | DEFECT DESCRIPTION |

Comments may be attached to this checklist if insufficient space is provided above.

Completed by:

Job title:

Signature:

Date:		 / 	 /