RMIT ITS Floor Checklist

Satisfactory	Unsatisfactory	   Not Applicable	Comments

Access to floor							 ______________________

Access to all rooms							 ______________________

Safe working conditions						 ______________________

Building works completed:

Wall								 ______________________

Floor								 ______________________

Ceilings								 ______________________

Painting							 ______________________	Permanent power						 ______________________

Lighting								 ______________________

Furniture in place							 ______________________

Cleanliness								 ______________________

As built floor plan available						 ______________________

RMIT occupation details 						 ______________________

Desks / Offices

Data outlets accessible						 ______________________

Data Outlets labelled							 ______________________

Data Outlets tested 							 ______________________

Meeting Rooms

Data outlets PC &Telephone						 ______________________

Data Outlets labelled							 ______________________

Data Outlets tested 							 ______________________

MFD / Printers

Data outlets (2)							 ______________________

Data Outlets labelled							 ______________________

Data Outlets tested 							 ______________________

Televisions

Data outlet								 ______________________

Data Outlets labelled							 ______________________

Data Outlets tested 							 ______________________

Floor boxes

Clean								 ______________________

Lids open/close							 ______________________

Data Outlets labelled						 ______________________

Data Outlets tested						 ______________________

Building Automation Systems (BAS/DDC/BMS)

Outlets for BMS

(Typically one per floor)						 ______________________

Outlets for Emergency

Lighting	 interface						 ______________________

Outlets for Lighting

Control	interface						 ______________________

Outlets for Energy metering eg Electrical, Gas, water

______________________

Data Outlets for Teaching spaces

Data outlet per Student seat						 ______________________

Data Outlets labelled							 ______________________

Data Outlets tested 							 ______________________

AV Data Outlets for Teaching spaces

Lectern PC 	 						 ______________________

Lectern Laptop 	 						 ______________________

Lecture Recording						 ______________________

AV Controller(s)							 ______________________

AV Touch Screen						 ______________________

Wall Displays							 ______________________

Lectern Telephone						 ______________________

Projector(s)							 ______________________

Video Conference						 ______________________

Other AV equipment						 ______________________

AV Rack power rail						 ______________________

Details of AV Devices	Rec’d						 ______________________

Outlets labelled correctly						 ______________________

Digital Signage

Data outlets for Media player						 ______________________

Data outlets for Displays						 ______________________

Details of Signage devices						 ______________________

Outlets labelled correctly						 ______________________

IP Clocks

Outlets for IP Clocks							 ______________________

Details for IP clocks rec’d						 ______________________

Outlets labelled correctly						 ______________________

Collaboration system							 ______________________

Data outlets for Displays						 ______________________

Data outlets embedded PC 						 ______________________

Details for collaboration rec’d						 ______________________

Outlets labelled correctly						 ______________________

CCTV

Outlets for CCTV Camera						 ______________________

Outlets DVR(s)							 ______________________

Details of CCTV Devices						 ______________________

Outlets labelled correctly						 ______________________

Building Security System

Outlets for Floor Controllers						 ______________________

Details of Challengers recv’d						 ______________________

Outlets labelled correctly						 ______________________

Fire System

Outlets for Fire Panel							 ______________________

Outlets for EWIS Panel						 ______________________

Details of recv’d							 ______________________

Outlets labelled correctly						 ______________________

Wireless

Two data points installed						 _____________________

WAP in correct locations						 ______________________

WAP	physically installed						 ______________________

WAP patched at outlet						 ______________________

Outlets labelled correctly						 ______________________

Other:

All Fly leads provided							 ______________________

Telephone Services:

Fax outlet								 ______________________

Powerfail Handset outlets 						 ______________________

Entrance phone outlet 						 ______________________

Outlets labelled correctly						 ______________________

Infrastructure:

Communication Riser(s):

Door Labelled	 							 ______________________

RMIT lock installed							 ______________________

Cable tray labelled							 ______________________

Fibre cables labelled							 ______________________

Telephone cables labelled						 ______________________

Cables secured to tray						 ______________________

Penetrations fire sealed 						 ______________________

Cabling Pathways:

Access to Cable pathways						 ______________________

Cable trays:

Cables fixed to trays							 ______________________

Trays have adequate 	space						 ______________________

for future cabling

Other Comments

______________________

______________________

______________________